## Slide 1
Electric Motors 101

## Slide 2
Three Phrase Motor Construction

## Slide 3
Three Phrase Motor Construction

## Slide 4
Motor
Operation

## Slide 5
Motor
Operation

## Slide 6
Three Phrase Motor Construction

## Slide 7
Rotation of the Motor

## Slide 8
Rotation of the Motor

## Slide 9
Rotation of the Motor

## Slide 10
Rotation of the Motor

## Slide 11
Synchronous Speed of Motor

## Slide 12
Poles &
Sychronus
RPM @ 60HZ
Magnetic Poles
Synchronous RPM
2
4
6
8
3600
1800
1200
900
7200/P = Synchronous RPM
7200/Synchronous RPM = P

## Slide 13
Three Phrase Motor Construction

## Slide 14
Three Phrase Motor Construction

## Slide 15
What is slip?
  To produce torque in an induction motor, currentmust flow in the rotor.
  To induce current flow in the rotor, the rotorspeed must be slightly slower than thesynchronous speed.
  The difference between the synchronous speedand the rotor speed (rated speed) is called the slip.
SLIP
FLUX
STATOR
Rotor

## Slide 16
Motor Rated Speed
(1-s)
Where:
  N: RPM of the Motor
  f: Frequency in Hz
  P: Number of Poles of the motor
  s: (No-N)/No

## Slide 17
Torque
Curve

## Slide 18
Torque Curve

## Slide 19
Nema Design Characteristics
  High breakdown torque
  Normal Starting Torque
  High Starting current
  Low Full load slip
  Used in applications that require
    Occasional Overloads
    Better Efficiency
NEMA Design A

## Slide 20
Nema Design Characteristics
  Normal breakdown torque
  Normal Starting Torque
  Low Starting current
  Normal Full load slip
    Less than 5%
  General Purpose Motor
NEMA Design B

## Slide 21
Nema Design Characteristics
  Low breakdown torque
  High Starting Torque
  Low Starting current
  Normal Full load slip
    Less than 5%
  Used in applications that require
    High Breakaway Torque
NEMA Design C

## Slide 22
Nema Design Characteristics
  High breakdown torque
  High Starting Torque
  Normal Starting current
  HIgh Full load slip
    5-13%
  Used in applications that require
    High Breakaway Torque
NEMA Design D

## Slide 23
Rotational Horsepower Formula
Where:
  Torque - Amount of torque in lb. ft.
  RPM - RPM of the motor
  5250 - Constant obtained by dividing 33,000 by 6.28
HP = Torque x RPM
5250
Torque = HP x 5250
RPM
OR

## Slide 24
Motor Nameplate Data

## Slide 25
Understanding the Nameplate
The horsepower figure stamped on the nameplate is the horsepower the motor is rated to develop when connected to a circuit of the voltage, frequency and number of phases specified on the motor nameplate.
HP- Horsepower

## Slide 26
Understanding the Nameplate
The RPM value represents the approximate speed at which the motor will run when properly connected and delivering its rated output.
Revolutions per Minute

## Slide 27
Understanding the Nameplate
Poles
Synchronous RPM
2
4
6
8
3600
1800
1200
Typical Nameplate RPM
3450
1725
1140
850
900

## Slide 28
Understanding the Nameplate
The rated voltage figure on the motor nameplate refers to the voltage of the supply circuit to which the motor should be connected, to produce rated horsepower and RPM.
Voltage

## Slide 29
Understanding the Nameplate
The amp figure on the motor nameplate represents the approximate current draw by the motor when developing rated horsepower on a circuit of the voltage and frequency specified on the nameplate.
Amps

## Slide 30
Understanding the Nameplate
The NEMA Design rating specifies the speed torque curve that will be produced by the motor.
NEMA Design

## Slide 31
Understanding the Nameplate
Insulation Class letter designates the amount of allowable temperature rise bsaed on the insulation system and the motor service factor.
Insulation Class

## Slide 32
Insulation Class Information
Insulation Class
Ambient Temp.
A
B
F
H
40 C
40 C
40 C
Temp. Rise
Total Temp.
65 C
90 C
115 C
140 C
105 C
130 C
155 C
180 C
40 C
*Most common insulation classes are class B & F

## Slide 33
Understanding the Nameplate
The number by which the horsepower rating is multiplied to determine the maximum safe load that a motor may be expected to carry continuously.
S.F. - Service Factor
Example: A 10 HP Motor with a service factor of 1.15 deliver 11.5 horsepower continuously without exceeding the allowabe temperature rise of the insulation class.

## Slide 34
Understanding the Nameplate
Frame
The frame designation refers to the physical size of the motor as well as certain construction features such as the shaft and mounting dimensions.

## Slide 35
NEMA
Frame Chart

## Slide 36
Common
types of
Motor
Enclosure
  Open Drip-proof (ODP)
  Totally Enclosed non-ventilated (TENV)
  Totally enclosed fan cooled (TEFC)
  Totally Enclosed blower code (TEBC)

## Slide 37
Types of Motor Enclosures
  Open drip-proof
  Ventilating openings permit passage of external cooling air over and around the windings of the motor. Small degree of protection against lquid or solid particles entering the enclosure.
ODP

## Slide 38
Types of Motor Enclosures
  Totally enclosed non ventilated
  Totally enclosed enclosure with no means of external cooling.
TENV

## Slide 39
Types of Motor Enclosures
  Totally enclosed fan-cooled
  Totally enclosed enclosure with external cooling means, such as a shaft connected fan
TEFC

## Slide 40
Types of Motor Enclosures
  Totally enclosed blower-cooled
  Totally enclosed enclosure with external cooling means such as a separately controlled motor power.
TEBC

## Slide 41
Application
Driven
Enclosures
  Washdown
  Stainless Steel
  Explosion Proof
  Totally Enclosed Air Over
  Weather Protected
    Type I
    Type II

## Slide 42
Something you cannot see...
  C5 or C3 Lamination Steel
    C5 rated for 1000 degrees F
    C3 rated for 750 degrees F
Stator & Rotor Laminations

## Slide 43
How does everything add up?

## Slide 44
Questions?